## Calls
Install Type | Reported By | Date Reported | Problem | Assigned to | Resolution | Date Resolved
Wind Turbine | helpdesk@kineteco.example | 2026-08-23 | Intermittent fault light on controller | Priya Nair
Inverter | field@kineteco.example | 2026-08-05 | Display panel unresponsive | Aisha Rahman
Solar Panel | ops@kineteco.example | 2026-08-25 | Breaker trips under load | Priya Nair | Escalated to manufacturer | 2026-08-30
Battery Wall | helpdesk@kineteco.example | 2026-08-19 | Water ingress in junction box | Wei Ling Ho | Firmware reflashed | 2026-08-20
Wind Turbine | field@kineteco.example | 2026-08-02 | Firmware update failed | Wei Ling Ho | Escalated to manufacturer | 2026-08-05
Wind Turbine | ops@kineteco.example | 2026-08-07 | Display panel unresponsive | Aisha Rahman
Inverter | ops@kineteco.example | 2026-08-07 | URGENT: Breaker trips under load | Daniel Lim | Escalated to manufacturer | 2026-08-10
Solar Panel | helpdesk@kineteco.example | 2026-08-02 | Intermittent fault light on controller | Marcus Tan
Battery Wall | ops@kineteco.example | 2026-08-18 | Intermittent fault light on controller | Daniel Lim | Replaced faulty component | 2026-08-23
Inverter | field@kineteco.example | 2026-08-25 | App shows device offline | Priya Nair | Firmware reflashed | 2026-08-29
EV Charger | ops@kineteco.example | 2026-08-21 | Intermittent fault light on controller | Priya Nair | Firmware reflashed | 2026-08-22
EV Charger | field@kineteco.example | 2026-08-10 | URGENT: Unit not producing expected output | Marcus Tan | Firmware reflashed | 2026-08-15
EV Charger | helpdesk@kineteco.example | 2026-08-24 | Unit not producing expected output | Aisha Rahman | Reseated connector and retested | 2026-08-27
Solar Panel | ops@kineteco.example | 2026-08-24 | URGENT: App shows device offline | Wei Ling Ho
Solar Panel | ops@kineteco.example | 2026-08-15 | Firmware update failed | Priya Nair | Escalated to manufacturer | 2026-08-19
Wind Turbine | ops@kineteco.example | 2026-08-02 | URGENT: Water ingress in junction box | Aisha Rahman | Reseated connector and retested | 2026-08-04
Battery Wall | ops@kineteco.example | 2026-08-07 | App shows device offline | Daniel Lim
Battery Wall | ops@kineteco.example | 2026-08-07 | Loud noise during operation | Marcus Tan | Replaced faulty component | 2026-08-09
Battery Wall | helpdesk@kineteco.example | 2026-08-05 | URGENT: Loud noise during operation | Daniel Lim | Firmware reflashed | 2026-08-10
Wind Turbine | ops@kineteco.example | 2026-08-16 | Breaker trips under load | Wei Ling Ho
EV Charger | ops@kineteco.example | 2026-08-28 | Firmware update failed | Daniel Lim | Firmware reflashed | 2026-09-01
Solar Panel | helpdesk@kineteco.example | 2026-08-01 | Display panel unresponsive | Wei Ling Ho | Reseated connector and retested | 2026-08-06
Battery Wall | ops@kineteco.example | 2026-08-08 | URGENT: Intermittent fault light on controller | Aisha Rahman | Reseated connector and retested | 2026-08-14
Solar Panel | helpdesk@kineteco.example | 2026-08-06 | Water ingress in junction box | Aisha Rahman | Replaced faulty component | 2026-08-08
Battery Wall | ops@kineteco.example | 2026-08-26 | Intermittent fault light on controller | Marcus Tan | Reseated connector and retested | 2026-08-31
Wind Turbine | helpdesk@kineteco.example | 2026-08-31 | Breaker trips under load | Priya Nair | Firmware reflashed | 2026-09-06
Inverter | ops@kineteco.example | 2026-08-21 | Water ingress in junction box | Priya Nair | Reseated connector and retested | 2026-08-22
Inverter | helpdesk@kineteco.example | 2026-08-03 | App shows device offline | Daniel Lim | Replaced faulty component | 2026-08-06
Wind Turbine | ops@kineteco.example | 2026-08-26 | URGENT: Breaker trips under load | Aisha Rahman | Firmware reflashed | 2026-08-27
Inverter | helpdesk@kineteco.example | 2026-08-08 | Firmware update failed | Wei Ling Ho | Firmware reflashed | 2026-08-10
Wind Turbine | field@kineteco.example | 2026-08-26 | App shows device offline | Aisha Rahman | Escalated to manufacturer | 2026-08-30
Inverter | helpdesk@kineteco.example | 2026-08-15 | Unit not producing expected output | Aisha Rahman | Escalated to manufacturer | 2026-08-19
EV Charger | field@kineteco.example | 2026-08-27 | Unit not producing expected output | Priya Nair | Firmware reflashed | 2026-08-28
Wind Turbine | helpdesk@kineteco.example | 2026-08-11 | URGENT: Unit not producing expected output | Priya Nair | Firmware reflashed | 2026-08-16
EV Charger | helpdesk@kineteco.example | 2026-08-07 | Unit not producing expected output | Marcus Tan | Firmware reflashed | 2026-08-11
Wind Turbine | helpdesk@kineteco.example | 2026-08-18 | Unit not producing expected output | Daniel Lim | Replaced faulty component | 2026-08-21
Inverter | helpdesk@kineteco.example | 2026-08-25 | Intermittent fault light on controller | Marcus Tan
Wind Turbine | ops@kineteco.example | 2026-08-26 | Water ingress in junction box | Wei Ling Ho | Replaced faulty component | 2026-09-01
Solar Panel | field@kineteco.example | 2026-08-23 | URGENT: App shows device offline | Daniel Lim
Wind Turbine | ops@kineteco.example | 2026-08-22 | Intermittent fault light on controller | Aisha Rahman | Escalated to manufacturer | 2026-08-26